## Blad1
Description | Manufacturer part number | Price total | Quantity | Comments
Snapmaker Linear axes 168mm (3 axes per set) |  | 240 | 2 | We only need 4 axes, so we will have 2 spare… | Total Cost
Thorlabs optical cage rods (12") |  | 79.9568 | 4 |  | 3109.1001
Cage plates standard | CP33/M | 41.987 | 2
Olympus 10X 0.25Na PlanC N |  | 200 | 1
RLS RL2IC encoders |  | 245.8599 | 3
RLS encoder tape |  | 106.1775 | 3 | One of tapes will be shorter and hence cheaper
Acrylic Enclosure panels |  | 110 | 1
Snapmaker axis splitter | B.1.H.A.0001-01 | 29.58 | 2 | We need one to strip connectors, and one to mirror Z-axes
Power Module for Snapmaker 2.0 |  | 70 | 1 | Internal power supply can be sourced directly for ~ 50 if cost saving needed
Photon Ultra 3D printer with DMD |  | 340 | 1 | Might be hard to source, look around
USB3 colour camera 1/1.8" | MER2-630-60U3C | 191 | 1 | Seem to charge 50 shipping fee, which is a bit much. Could be replaced by Pi HQ camera (50 eur)
deep red camera | SC0926 | 60 | 1 | Rpi global shutter camera
1" enonomy beamsplitter | EBS1 | 82.28 | 2 | maybe need 3 even
1" cold mirror | FM04 | 51.8969 | 1
Silver mirror 1" | ME1-P01 | 73.9068 | 2 |  | Cost of white light module
LED board |  | 80 | 2 | coarse estimation | 471.681
Light tunnels |  | 36 | 2 | coarse estimation
Tube lens visible | AC254-080-A | 96.074 | 1 |  | System without white light
Tube lens IR | AC254-080-A | 96.074 | 1 |  | 2637.4191
Biconvex lens illumination | LB1757 | 63.3072 | 2 | These are very much pending revision
PCB stage control |  | 100 | 1 | No idea, just putting down some numbers
PCB Z axis and focus |  | 100 | 1 | No idea, just putting down some numbers
PCB stage calibration sensors |  | 40 | 1 | No idea, just putting down some numbers
Printed parts (SLS/MJF) |  | 250 | 1 | No idea, just putting down some numbers
Fine Z-focus system |  | 250 | 1 | No idea, just putting down some numbers
Screws and fittings |  | 50 | 1 | No idea, just putting down some numbers
Stage vacuum ¦ tetra APS 150 |  | 25 | 1 | point of improvement, but not a priority